## FMEA
Failure Modes and Effects Analysis
Oxygen Concentrator
| Failure Mode | Effects | Severity | Probability | Risk Management
1 | Power loss
2 | Oxygen leak
3 | Excess moisture
4 | Leaking hose
5 | Leaking o-ring
6 | Overheating electronics
7 | Dropped by user
8 | Knocked over by user
9 | Over pressure
10 | Under pressure
11 | Blocked pneumatics
12 | Sieve spring failure
13 | Touch screen failure
14 | Touch screen damage
15 | Exhaust fan failure
16 | Blocked HEPA filter
17 | Electromagnet interference
18 | Solenoid valve failure
19 | Power supply failure
20 | Oxygen sensor misreading
21 | Air leak
22 | Oil in air lines
23 | Valve seal/or-ing shedding
24 | Faulty component
25 | Deteriorated valve
26 | Slow responding valve
27 | Short circuit
28 | Pressure vessel scratched or dented
29 | Loose wiring connection
30 | Over torqued threaded fitting
31 | Under torqued threading fitting
32 | Non-square pneumatic tubing cut
33 | Burr on pneumatic tubing cut
34 | Cut or scuff on pneumatic tubing
35 | Crushed pneumatic tubing
36 | Twisted pneumatic tubing
37 | Excessive pressure
38 | Low pressure
39 | Moisture damaged zeolite
40 | Zeolite sieve spring failure
41 | Zeolite sieve air distributor failure
42 | Zeolite sieve filter blocked
43 | Zeolite sieve dust contaminates air supply
44 | Zeolite sieve dust acts as abrasive
45 | Zeolite sieve compaction
46 | Unbalanced sieve pressure drop
47 | Oil contamination
48 | Carbon dioxide
49 | Carbon monoxide
50 | Environmental gas contamination
51 | Excessive nitrogen production
52 | Incorrect assembly
53 | Incorrect maintenance
54 | Low oxygen concentration
55 | Incorrect sensor reading
56 | Compressor failure
57 | Chiller/drier failure