## FMEA
Failure Modes and Effects Analysis
Oxygen Concentrator
| Failure Mode | Effects | Severity | Probability | Risk Management
1 | Power loss
2 | Oxygen leak
3 | Excess moisture
4 | Leaking hose
5 | Leaking o-ring
6 | Overheating electronics
7 | Dropped by user
8 | Knocked over by user
9 | Over pressure
10 | Under pressure
11 | Blocked pneumatics
12 | Sieve spring failure
13 | Touch screen failure
14 | Touch screen damage
15 | Exhaust fan failure
16 | Blocked HEPA filter
17 | Electromagnet interference
18 | Solenoid valve failure
19 | Power supply failure
20 | Oxygen sensor misreading